## Slide 1: Charlton & Singleton
Groundwater 2024/25

## Slide 2: Key Questions
Placement of the system generators and pumps – need to be moved into the fields and further away from residential properties
Contractor’s vehicles and trucks to be parked in the fields off road to save verges being destroyed and small country roads being blocked
Status of pipe-lining work. There was an expectation formed that this would be carried out this calendar year
Consistency of the contractors used and lack of internal communication between SW and the contractors they use to carry out the works

## Slide 3: Charlton IRP Groundwater Management installation

## Slide 4: Proposals to get tankers off the road and away from residential properties

## Slide 5: Current Borehole Level

## Slide 6: Preparation Progress

## Slide 7: Winter Readiness

## Slide 8: Charlton & Singleton specific actions

## Slide 9: Playbook Content
Spill points and monitoring
Pre-season groundwater checks through TP&S
Catchment Overview - Information
Catchment Overview - Mapping

## Slide 10: Playbook Content
Guidance on vehicles parking, positioning and safety
Prompt on pollution response expectations
Details on Jetting MSTs in catchment
Prioritised monitoring information

## Slide 11: Playbook Content
Knights Hill, Charlton - Groundwater Management site location 2024/25

## Slide 12: Current sewer sealing map East Dean to Charlton
Sewer sealing between East Dean and Charlton village started on 4/11/24 scheme due to be completed by end of Dec 24.
Approx 1050m of 150mm public sewer.

## Slide 13: Charlton Village sewer sealing
Work has already started in the village of Charlton in the form of Manhole sealing.
Sewer sealing both public and private networks are on course to start on 18th Nov 24.
We anticipate to works to be completed by Jan 25.